Annexure- III

Commercial Terms and Conditions

- Performance Guarantee parameters & penalty of the System:

| PG Parameter | Guaranteed Value | *L.D. Clause |
| --- | --- | --- |
| - Movements as specified in data sheet - Leak proofness | As specified in enclosed data sheet in Annexure- I | Otherwise, necessary rectification to be taken up for satisfactory performance. |
| Supplier shall demonstrate PG test for stipulated time as agreed with Purchaser. |  |  |
| Expansion joints shall operate to the required proficiency. |  |  |

Vendor shall provide warranty of their total offered system till the PG test of entire plant is over.

2.0    Delivery Period:  To be mentioned.

3.0   Payment Terms & Other Commercial conditions to be provided by Hindalco.