Annexure- III

Commercial Terms and Conditions for Ash Filters

- Performance Guarantee parameters & penalty of the System:

| PG Parameter | Guaranteed Value | *L.D. Clause |
| --- | --- | --- |
| Outlet quality of water from Filters | Vendor to stand guarantee for the figure confirmed by them. | Penalty prevails @ 0.75% of Contract value for every 2.5 micron increase in outlet particle size over the Guaranteed value up to 10 microns. Beyond that the performance to be rectified within 12 months of conducting PG test. |
| Pressure drop across filter | Vendor to stand guarantee for the figure confirmed by them. | Penalty prevails @ 0.75% of Contract value for every 0.5 kg/cm2 increase in pressure drop under clean condition after backwash over the Guaranteed value up to 1.0 kg/cm2. Beyond that the performance to be rectified within 12 months of conducting PG test. |

Vendor shall provide warranty of their total offered system till the PG test of entire plant is over.

2. Delivery Period:  To be mentioned.

3.  Payment Terms & Other Commercial conditions to be provided by Hindalco.